## alerts
Using the default config
Alert sync from DB
Item name | False value | Value in DynamoDB | Alert should throw
Test 7
Alert create default value
Item name | False value | Value in DynamoDB | Alert should throw | New value in DynamoDB | Resolve
Ups Battery Fail1 | FALSE | FALSE | YES | TRUE | R
Tank Temp Fault1 | TRUE | FALSE | NO | TRUE | A
system run1 | FALSE | TRUE | NO | FALSE | A |  |  |  | 14 | 15
Sun Is Up1 | TRUE | TRUE | YES | FALSE | R
Sun Elevation1 | >36 | 36.5 | YES | 35 | R |  | 10 |  | 13 | 16
Sun Azimuth1 | >36 | 36 | NO | 36.5 | A |  | 9
Reservoir Temp1 | not equal 36 | 36 | NO | 36 | NO change
Plumbing Leg Temp1 | not equal 36 | 37 | YES | 36 | R
Hx Temp Out1 | equal 36 | 36 | YES | 34 | R
Hx Temp In1 | equal 36 | 35 | NO | 36 | A
Flow Rate1 | greater than or equal to 36 | 36 | YES | 35.5 | R
Btus Per Hr1 | greater than or equal to 36 | 37 | YES | 38 | No change | NOTE for paging
Btus Delivered Today1 | greater than or equal to 36 | 35 | NO | 36 | A
Btu Temp In1 | less than 36 | 36 | NO | 35.5 | A
Tu_Number1111 | less than 36 | 35 | YES | 36 | R
Tu_Number21 | less than 36 | 37 | NO | 38 | NO change
Tu_Number31 | less than or equal to 36 | 36 | YES | 36.5 | R
Tu_Number41 | less than or equal to 36 | 35 | YES | 37 | R
Tu_Number51 | less than or equal to 36 | 37 | NO | 36 | A
Tu_Number61 | between 23 and 24 | 23 | NO | 23.5 | A
Tu_Number71 | between 23 and 24 | 24 | NO | 25 | NO change
Tu_Number81 | between 23 and 24 | 23.5 | YES | 23 | R
Tu_Number91 | between 23 and 24 | 22.5 | NO | 21 | NO change
Tu_Number101 | between 23 and 24 | 24.5 | NO | 23.5 | A
Tu_Number111 | not between 23 and 24 | 23 | NO | 23.5 | NO change
Tu_Number121 | not between 23 and 24 | 24 | NO | 24 | NO change
Tu_Number131 | not between 23 and 24 | 23.5 | NO | 23 | NO change
Tu_Number141 | not between 23 and 24 | 22.5 | YES | 22.5 | NO change
Tu_Number151 | not between 23 and 24 | 24.5 | YES | 24.5 | NO change
Test 8
Alert create project value
Item name | False value | Value in DynamoDB | Alert should throw | Change value in UI | Throw
Ups Battery Fail | FALSE | FALSE | YES | TRUE | Resolve
Tank Temp Fault | TRUE | FALSE | NO | FALSE | Alert
System Run | FALSE | TRUE | NO | TRUE | Alert |  | 2 | 2
Sun Is Up | TRUE | TRUE | YES | FALSE | Resolve
Sun Elevation | >36 | 36.5 | YES | les than 36 | Resolve |  | 14 | 15
Sun Azimuth | >36 | 36 | NO | less than or equal to 36 | Alert
Reservoir Temp | not equal 36 | 36 | NO | greater than or equal to 35.5 | Alert
Plumbing Leg Temp | not equal 36 | 37 | YES | greater than 36 | No change
Hx Temp Out | equal 36 | 36 | YES | greater than or equal to 36 | No change
Hx Temp In | equal 36 | 35 | NO | equal to 35 | Alert
Flow Rate | greater than or equal to 36 | 36 | YES | not equal 36 | Resolve
Btus Per Hr | greater than or equal to 36 | 37 | YES | greater than or equal to 35.5 | No change
Btus Delivered Today | greater than or equal to 36 | 35 | NO | greater than 37 | No change
Btu Temp In | less than 36 | 36 | NO | less than or equal to 36 | Alert
Tu_Number11112 | less than 36 | 35 | YES | Greater than 36 | Resolve
Tu_Number212 | less than 36 | 37 | NO | less than or equal to 36 | No change
Tu_Number312 | less than or equal to 36 | 36 | YES | less than or equal to 37 | No change
Tu_Number412 | less than or equal to 36 | 35 | YES | greater than or equal to 35.5 | Resolve
Tu_Number512 | less than or equal to 36 | 37 | NO | greater than 36.5 | Alert
Tu_Number612 | between 23 and 24 | 23 | NO | not between 23 and 24 | No change
Tu_Number712 | between 23 and 24 | 24 | NO | not between 23 and 24 | No change
Tu_Number812 | between 23 and 24 | 23.5 | YES | between 23 and 25 | No change
Tu_Number912 | between 23 and 24 | 22.5 | NO | not between 23 and 24 | Alert
Tu_Number1012 | between 23 and 24 | 24.5 | NO | not between 24 and 25 | No change
Tu_Number1112 | not between 23 and 24 | 23 | NO | between 23 and 24 | No change
Tu_Number1212 | not between 23 and 24 | 24 | NO | between 23 and 24 | No change
Tu_Number1312 | not between 23 and 24 | 23.5 | NO | not between 23 and 24 | No change
Tu_Number1412 | not between 23 and 24 | 22.5 | YES | not between 23 and 24 | No change
Tu_Number1512 | not between 23 and 24 | 24.5 | YES | not between 23 and 24 | No change

## Status change
Item name | False value | Value in DynamoDB | Alert | New value in DynamoDB | Resolve
Ups Battery Fail | FALSE | FALSE | Y | TRUE | R | 14 | 18 | 32
Tank Temp Fault | TRUE | FALSE | N | TRUE | A
System Run | FALSE | TRUE | N | FALSE | A | 15 | 17
Sun Is Up | TRUE | TRUE | Y | FALSE | R
Sun Elevation | >36 | 36.5 | Y | 35 | R
Sun Azimuth | >36 | 36 | N | 36.5 | A
Reservoir Temp | not equal 36 | 36 | N | 36 | NO change
Plumbing Leg Temp | not equal 36 | 37 | Y | 36 | R
Hx Temp Out | equal 36 | 36 | Y | 34 | R
Hx Temp In | equal 36 | 35 | N | 36 | A
Flow Rate | greater than or equal to 36 | 36 | Y | 35.5 | R
Btus Per Hr | greater than or equal to 36 | 37 | Y | 38 | No change
Btus Delivered Today | greater than or equal to 36 | 35 | N | 36 | A
Btu Temp In | less than 36 | 36 | N | 35.5 | A
Tu_Number1 | less than 36 | 35 | Y | 36 | R
Tu_Number2 | less than 36 | 37 | N | 38 | NO change
Tu_Number3 | less than or equal to 36 | 36 | Y | 36.5 | R
Tu_Number4 | less than or equal to 36 | 35 | Y | 37 | R
Tu_Number5 | less than or equal to 36 | 37 | N | 36 | A
Tu_Number6 | between 23 and 24 | 23 | N | 23.5 | A
Tu_Number7 | between 23 and 24 | 24 | N | 25 | NO change
Tu_Number8 | between 23 and 24 | 23.5 | Y | 23 | R
Tu_Number9 | between 23 and 24 | 22.5 | N | 21 | NO change
Tu_Number10 | between 23 and 24 | 24.5 | N | 23.5 | A
Tu_Number11 | not between 23 and 24 | 23 | Y | 23.5 | R
Tu_Number12 | not between 23 and 24 | 24 | Y | 24 | NO change
Tu_Number13 | not between 23 and 24 | 23.5 | N | 23 | A
Tu_Number14 | not between 23 and 24 | 22.5 | Y | 22.5 | NO change
Tu_Number15 | not between 23 and 24 | 24.5 | Y | 24.5 | NO change